## Sheet1
Reagents | [5 empty] | Run details
Component | Supplier | Cat. No. | Lot # | Conc, ng/uL | uL for 60uL STD#1 | Run ID | date | operator
TaqMan® Fast Advanced Master Mix (5x5mL) | ThermoFisher Scientific | 13438456 | 3397089 (Verified) | N/A | N/A | DEN315 | 2026-04-27 | nesaghi amuthavel
RNase P Primer-Probe (FAM) | ThermoFisher Scientific | 4316831 | 3392041 (Verified) | N/A | N/A
16S Primer-Probe (VIC) | ThermoFisher Scientific | 11957021 | P260331-006-H09 (Verified) | N/A | N/A
TE (1X) buffer (pH8.0) | ThermoFisher Scientific | 10224683 |  | N/A | N/A
Human DNA Male control | ThermoFisher Scientific | 360486 | 3189020 (Verified) | 10 | N/A
Nuclease free water or suitable alternative | QIAGEN | 1039498 | 181038038 | N/A | 34.8
Human Genomic DNA | Promega | G3041 | 0000660541 (Verified) | 250 | 19.2
Microbial Community DNA Standard (2000ng) | ZymoBIOMICS | D6306 | 271028 (Verified) | 100 | 6
Equipment
Item | Make | Model | Serial number | Asset # | Notes
Laminar Flow Cabinet | StarLab | GuardOne | 9206IL 200028 | 60
Thermocycler | AppliedBiosystems | QuantStudio 1 | 2721224090023 | 00131
Thermocycler | Roche | LightCycler 480 II, 96 | 32258 | 00064
Mini Vortexer | Heathrow Scientific | 120567 | HSA09547 | 73
MiniSpin | Eppendorf | Various | 5452HR504062. | 74
Plate Centrifuge | Corning | Various | 22132009 | 98
Plate shaker | Qinstrument | BioShaker iQ | 26656 | 89